## Sheet1
[18 empty] | Loke | Sigyn-2
SLP | W-13-PT___005_ | B.S.V.TILF\RSEL B05 | SLP | W-13-TT___601_ | BRØNNHODE B01 | SLP | W-20-PT___101_ | B01 PROD. LINJE | SLP | W-13-AT___001A | Sand Production A - Well B01 | SLP | W-13-XA___001_ | DeltaV trans feil | SLP | G-18-PT___541A | E-4H NEDIHULL TR.a | \\SLP\18-TT___831_ | \\SLP\U-18-PT___533_
SLP | W-13-PT___015_ | B.S.V.TILF\RSEL B15 | SLP | W-13-TT___601_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRONNHODE B01 | SLP | W-20-PT___102_ | B02 PROD. LINJE | SLP | W-13-AT___001A.Rawdata | Sand Production A Well B01 - Raw data | SLP | W-13-XA___101_ | Brønn status | SLP | G-18-PT___541A.calc.30minavg | PWEL_30MIN_STATUS - AVG_BH_PRESS - E-4H NEDIHULL TR.a | \\SLP\18-PT___832_ | \\SLP\U-18-TT___533_
SLP | W-13-PT___405_ | RINGROM B05 | SLP | W-13-TT___601_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRONNHODE B01 | SLP | W-20-PT___103_ | B03 PROD. LINJE | SLP | W-13-AT___001A.Step | Sand noise 1g/s | SLP | W-13-XA___101_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___541B | E-4H NEDIHULL TR.b | \\SLP\18-AT___836.Rawdata | \\SLP\U-18-PT___535_
SLP | W-13-PT___405_.calc.30minavg | PWEL_30MIN_STATUS - AVG_ANNULUS_PRESS - RINGROM B05 | SLP | W-13-TT___602_ | BRONNHODE B02 | SLP | W-20-PT___103_.dayavg06-06 | Day Avg 06 - 06 B03 PROD. LINJE | SLP | W-13-AT___001A.Vel | Velocity | SLP | W-13-XA___102_ | Brønn status | SLP | G-18-PT___541C | E-4H NEDIHULL TR.c | \\SLP\18-PT___157_ | \\SLP\U-18-TT___535_
SLP | W-13-PT___415_ | RINGROM B15 | SLP | W-13-TT___602_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRONNHODE B02 | SLP | W-20-PT___104_ | B04 PROD. LINJE | SLP | W-13-AT___001A.Zero | Estimated background noise | SLP | W-13-XA___102_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS B02 | SLP | G-18-PT___542A | E-4H RINGROMS TRYKK1 | \\SLP\18-TT___151_ | \\SLP\U-18-AE___531A
SLP | W-13-PT___501_ | BRØNNHODE B01 | SLP | W-13-TT___602_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRONNHODE B02 | SLP | W-20-PT___104_.dayavg06-06 | Day Avg 06 - 06 B04 PROD. LINJE | SLP | W-13-AT___001B | Sand Production B - Well B01 | SLP | W-13-XA___103_ | Brønn status | SLP | G-18-PT___542A.calc.30minavg | PWEL_30MIN_STATUS - AVG_ANNULUS_PRESS - E-4H RINGROMS TRYKK1 | \\SLP\18-XA___821_ | \\SLP\U-18-ZT___533_calc.hrsonstream
SLP | W-13-PT___501_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRONNHODE B01 | SLP | W-13-TT___603_ | BR\NNHODE B03 | SLP | W-20-PT___105_ | B05 PROD. LINJE | SLP | W-13-AT___001B.Rawdata | Sand Production B Well B01 - Raw data | SLP | W-13-XA___103_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___542B | E-4H RINGROMS TRYKK2 |  | \\SLP\U-18-EV___532_
SLP | W-13-PT___501_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRONNHODE B01 | SLP | W-13-TT___603_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B03 | SLP | W-20-PT___105_.dayavg06-06 | Day Avg 06 - 06 B05 PROD. LINJE | SLP | W-13-AT___001B.Step | Sand noise 1g/s | SLP | W-13-XA___104_ | Brønn status | SLP | G-18-PT___543_ | E-4H BRØNNHODE TRYKK
SLP | W-13-PT___502_ | BRONNHODE B02 | SLP | W-13-TT___603_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B03 | SLP | W-20-PT___106_ | B06 PROD. LINJE | SLP | W-13-AT___001B.Vel | Velocity | SLP | W-13-XA___104_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___543_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - E-4H BRØNNHODE TRYKK | Gungne
SLP | W-13-PT___502_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRONNHODE B02 | SLP | W-13-TT___604_ | BR\NNHODE B04 | SLP | W-20-PT___106_.dayavg06-06 | Day Avg 06 - 06 B06 PROD. LINJE | SLP | W-13-AT___001B.Zero | Estimated background noise | SLP | W-13-XA___105_ | Brønn status | SLP | G-18-PT___544_ | E-4H OPPSTR.CH.TRYKK | \\SLP\13-PT___054_ | s-2
SLP | W-13-PT___502_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRONNHODE B02 | SLP | W-13-TT___604_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B04 | SLP | W-20-PT___107_ | B07 PROD. LINJE | SLP | W-13-AT___001_ | Sand Detection B-1 (TO BE REMOVED. USE 001A OR 001B) | SLP | W-13-XA___105_.calc | Removes BAD from Tag Value (temporary solution) | SLP | G-18-PT___545_ | E-4H NEDSTR.CH.TRYKK | \\SLP\13-AT___274.Rawdata | \\SLP\U-18-PT___523_
SLP | W-13-PT___503_ | Brønnhode B03 | SLP | W-13-TT___604_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B04 | SLP | W-20-PT___107_.dayavg06-06 | Day Avg 06 - 06 B07 PROD. LINJE | SLP | W-13-AT___001_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-1 | SLP | W-13-XA___105_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___545_.dayavg06-06 | Day Avg 06 - 06 E-4H NEDSTR.CH.TRYKK | \\SLP\13-AT___274B.Rawdata | \\SLP\U-18-TT___523_
SLP | W-13-PT___503_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B03 | SLP | W-13-TT___605_ | BR\NNHODE B05 | SLP | W-20-PT___108_ | B08 PROD. LINJE | SLP | W-13-AT___001_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-1 | SLP | W-13-XA___106_ | Brønn status | SLP | G-18-PT___546A | E-4H LT UMB.FORS.TR. | \\SLP\13-PT___234_ | \\SLP\U-18-PT___525_
SLP | W-13-PT___503_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B03 | SLP | W-13-TT___605_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B05 | SLP | W-20-PT___109_ | B09 PROD. LINJE | SLP | W-13-AT___002A | Sand Production A - Well B02 | SLP | W-13-XA___106_.calc | Removes BAD from Tag Value (temporary solution) | SLP | G-18-PT___546B | E-4H LT RETUR TRYKK | \\SLP\13-TT___214_ | \\SLP\U-18-AE___521A
SLP | W-13-PT___504_ | BR\NNHODE B04 | SLP | W-13-TT___605_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B05 | SLP | W-20-PT___110_ | B10 PROD. LINJE | SLP | W-13-AT___002A.Rawdata | Sand Production A Well B02 - Raw data | SLP | W-13-XA___106_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___546C | E-4H LT FORSYNINGSTR | \\SLP\13-XA___034_ | \\SLP\U-18-TT___525_
SLP | W-13-PT___504_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B04 | SLP | W-13-TT___606_ | BR\NNHODE B06 | SLP | W-20-PT___110_.dayavg06-06 | Day Avg 06 - 06 B10 PROD. LINJE | SLP | W-13-AT___002A.Step | Sand noise 1g/s | SLP | W-13-XA___107_ | Brønn status | SLP | G-18-PT___547A | E-4H HT FORSYNINGS T |  | \\SLP\U-18-ZT___523_calc.hrsonstream
SLP | W-13-PT___504_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B04 | SLP | W-13-TT___606_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B06 | SLP | W-20-PT___111_ | B11 PROD. LINJE | SLP | W-13-AT___002A.Vel | Velocity | SLP | W-13-XA___107_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS B-7 | SLP | G-18-PT___548_ | E-4H FUNK L.TR SPYLE |  | \\SLP\U-18-EV___522_
SLP | W-13-PT___505_ | BR\NNHODE B05 | SLP | W-13-TT___606_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B06 | SLP | W-20-PT___111_.dayavg06-06 | Day Avg 06 - 06 B11 PROD. LINJE | SLP | W-13-AT___002A.Zero | Estimated background noise | SLP | W-13-XA___108_ | Brønn status | SLP | G-18-PT___549A | E-4H PT SCALE INHIBI
SLP | W-13-PT___505_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B05 | SLP | W-13-TT___607_ | BR\NNHODE B07 | SLP | W-20-PT___112_ | B12 PROD. LINJE | SLP | W-13-AT___002B | Sand Production B - Well B02 | SLP | W-13-XA___108_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS B-8
SLP | W-13-PT___505_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B05 | SLP | W-13-TT___607_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B07 | SLP | W-20-PT___113_ | B13 PROD. LINJE | SLP | W-13-AT___002B.Rawdata | Sand Production B Well B02 - Raw data | SLP | W-13-XA___109_ | Brønn status | SLP | G-18-PT___158_.calc.5minavg | EC_RAW.PFLW_SAMPLE_MPM - MEAS_VENTURI_PRESS - WGM DIFF. TRYKK
SLP | W-13-PT___506_ | BR\NNHODE B06 | SLP | W-13-TT___607_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B07 | SLP | W-20-PT___113_.dayavg06-06 | Day Avg 06 - 06 B13 PROD. LINJE | SLP | W-13-AT___002B.Step | Sand noise 1g/s | SLP | W-13-XA___109_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___515_ | E-1H NEDSTR.CH.TRYKK
SLP | W-13-PT___506_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B06 | SLP | W-13-TT___608_ | BR\NNHODE A08 | SLP | W-20-PT___114_ | B14 PROD. LINJE | SLP | W-13-AT___002B.Vel | Velocity | SLP | W-13-XA___110_ | Brønn status | SLP | G-18-PT___515_.dayavg06-06 | Day Avg 06 - 06 E-1H NEDSTR.CH.TRYKK
SLP | W-13-PT___506_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B06 | SLP | W-13-TT___608_.calc.30minavg | 30 MIN STATUS - AVG BRØNNHODE TEMP B08 | SLP | W-20-PT___114_.dayavg06-06 | Day Avg 06 - 06 B14 PROD. LINJE | SLP | W-13-AT___002B.Zero | Estimated background noise | SLP | W-13-XA___110_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___525_ | E-2H NEDSTR.CH.TRYKK
SLP | W-13-PT___507_ | BR\NNHODE B07 | SLP | W-13-TT___609_ | BR\NNHODE B09 | SLP | W-20-PT___115_ | B15 PROD. LINJE | SLP | W-13-AT___002_ | Sand Detection B-2 | SLP | W-13-XA___111_ | Brønn status | SLP | G-18-PT___525_.dayavg06-06 | Day Avg 06 - 06 E-2H NEDSTR.CH.TRYKK
SLP | W-13-PT___507_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B07 | SLP | W-13-TT___609_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B09 | SLP | W-20-PT___116_ | PRESS. PROD. LINE WELLH. | SLP | W-13-AT___002_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B02 | SLP | W-13-XA___111_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___535_ | E-3H NEDSTR.CH.TRYKK
SLP | W-13-PT___507_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B07 | SLP | W-13-TT___609_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B09 | SLP | W-20-PT___116_.dayavg06-06 | Day Avg 06 - 06 B16 PROD. LINJE | SLP | W-13-AT___002_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B02 | SLP | W-13-XA___113_ | Brønn status | SLP | G-18-PT___535_.dayavg06-06 | Day Avg 06 - 06 E-3H NEDSTR.CH.TRYKK
SLP | W-13-PT___508_ | BR\NNHODE B08 | SLP | W-13-TT___610_ | BR\NNHODE B10 | SLP | W-20-PT___117_ | B17 PROD. LINJE | SLP | W-13-AT___003 | Sand Production A - Well B03 | SLP | W-13-XA___113_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___545_ | E-4H NEDSTR.CH.TRYKK
SLP | W-13-PT___508_.calc.30minavg | 30 MIN STATUS - AVG BRØNNHODE B08 | SLP | W-13-TT___610_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B10 | SLP | W-20-PT___117_.dayavg06-06 | Day Avg 06 - 06 B17 PROD. LINJE | SLP | W-13-AT___003.Rawdata | Sand Production A Well B03 - Raw data | SLP | W-13-XA___114_ | Brønn status | SLP | G-18-PT___545_.dayavg06-06 | Day Avg 06 - 06 E-4H NEDSTR.CH.TRYKK
SLP | W-13-PT___509_ | BR\NNHODE B09 | SLP | W-13-TT___610_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B10 | SLP | W-20-PT___118_ | B18 PROD. LINJE | SLP | W-13-AT___003.Step | Sand noise 1g/s | SLP | W-13-XA___114_.calc | Removes BAD from Tag Value (temporary solution) | SLP | G-18-PT___565_ | E-1H FUNK L.TR AWV
SLP | W-13-PT___509_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B09 | SLP | W-13-TT___611_ | BR\NNHODE B11 | SLP | W-20-PT___119_ | B19 PROD. LINJE | SLP | W-13-AT___003.Vel | Velocity | SLP | W-13-XA___114_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-PT___575_ | E-2H FUNK L.TR AWV
SLP | W-13-PT___509_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B09 | SLP | W-13-TT___611_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B11 | SLP | W-20-PT___120_ | B20 PROD. LINJE | SLP | W-13-AT___003.Zero | Estimated background noise | SLP | W-13-XA___116_ | Brønn status | SLP | G-18-PT___585_ | E-3H FUNK L.TR AWV
SLP | W-13-PT___510_ | BR\NNHODE B10 | SLP | W-13-TT___611_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B11 | SLP | W-20-PT___120_.dayavg06-06 | Day Avg 06 - 06 B20 PROD. LINJE | SLP | W-13-AT___003B | Sand Production B - Well B03 | SLP | W-13-XA___116_.calc | Removes BAD from Tag Value (temporary solution) | SLP | G-18-PT___595_ | E-4H FUNK L.TR AWV
SLP | W-13-PT___510_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B10 | SLP | W-13-TT___612_ | BR\NNHODE B12 | SLP | W-20-PT___121_ | B21 PROD. LINJE | SLP | W-13-AT___003B.Rawdata | Sand Production B Well B03 - Raw data | SLP | W-13-XA___116_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS
SLP | W-13-PT___510_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B10 | SLP | W-13-TT___613_ | BR\NNHODE B13 | SLP | W-20-PT___121_.dayavg06-06 | Day Avg 06 - 06 B21 PROD. LINJE | SLP | W-13-AT___003B.Step | Sand noise 1g/s | SLP | W-13-XA___117_ | Brønn status | SLP | G-18-TT___515_ | E-1H NEDSTR.CH.TEMP
SLP | W-13-PT___511_ | BR\NNHODE B11 | SLP | W-13-TT___613_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B13 | SLP | W-20-PT___122_ | B22 PROD. LINJE | SLP | W-13-AT___003B.Vel | Velocity | SLP | W-13-XA___117_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-TT___525_ | E-2H NEDSTR.CH.TEMP
SLP | W-13-PT___511_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B11 | SLP | W-13-TT___613_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B13 | SLP | W-20-PT___122_.dayavg06-06 | Day Avg 06 - 06 B22 PROD. LINJE | SLP | W-13-AT___003B.Zero | Estimated background noise | SLP | W-13-XA___120_ | Brønn status | SLP | G-18-TT___535_ | E-3H NEDSTR.CH.TEMP
SLP | W-13-PT___511_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B11 | SLP | W-13-TT___614_ | BR\NNHODE B14 | SLP | W-20-PT___123_ | B23 PROD. LINJE | SLP | W-13-AT___003_ | Sand Detection B-3 (TO BE REMOVED. USE 003 OR 003B) | SLP | W-13-XA___120_.calc | Removes BAD from Tag Value (temporary solution) | SLP | G-18-TT___545_ | E-4H NEDSTR.CH.TEMP
SLP | W-13-PT___512_ | BR\NNHODE B12 | SLP | W-13-TT___614_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B14 | SLP | W-20-PT___124_ | B24 PROD. LINJE | SLP | W-13-AT___003_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-3 | SLP | W-13-XA___120_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS
SLP | W-13-PT___513_ | BR\NNHODE B13 | SLP | W-13-TT___614_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B14 | SLP | W-20-PT___124_.dayavg06-06 | Day Avg 06 - 06 B24 PROD. LINJE | SLP | W-13-AT___003_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-3 | SLP | W-13-XA___121_ | Brønn status | SLP | G-18-TT___514_ | E-1H OPPSTR.CH.TEMP.
SLP | W-13-PT___513_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B13 | SLP | W-13-TT___615_ | BR\NNHODE B15 | SLP | W-20-PT___316_ | SCRUBBER W-20-VB02 | SLP | W-13-AT___003_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-3 | SLP | W-13-XA___121_.calc | Removes BAD from Tag Value (temporary solution) | SLP | G-18-TT___524_ | E-2H OPPSTR.CH.TEMP.
SLP | W-13-PT___513_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B13 | SLP | W-13-TT___616_ | WELLHEAD TEMPERATURE | SLP | W-20-PT___316_S | SCRUBBER W-20-VB02 | SLP | W-13-AT___004 | Sand Production A - Well B04 | SLP | W-13-XA___121_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-TT___534_ | E-3H OPPSTR.CH.TEMP.
SLP | W-13-PT___514_ | BR\NNHODE B14 | SLP | W-13-TT___616_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B16 | SLP | W-20-PT___811C | TEST SEPARATOR | SLP | W-13-AT___004.Rawdata | Sand Production A Well B04 - Raw data | SLP | W-13-XA___122_ | Brønn status | SLP | G-18-TT___541A | E-4H NEDIHULL TEMP.a
SLP | W-13-PT___514_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B14 | SLP | W-13-TT___616_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B16 | SLP | W-20-PT___811_ | TEST SEPARATOR | SLP | W-13-AT___004.Step | Sand noise 1g/s | SLP | W-13-XA___122_.calc | Removes BAD from Tag Value (temporary solution) | SLP | G-18-TT___541A.calc.30minavg | PWEL_30MIN_STATUS - AVG_BH_TEMP - E-4H NEDIHULL TEMP.a
SLP | W-13-PT___514_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B14 | SLP | W-13-TT___617_ | BR\NNHODE B17 | SLP | W-20-PT___812C | VANN I TESTSEPARATOR | SLP | W-13-AT___004.Vel | Velocity | SLP | W-13-XA___122_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-TT___541B | E-4H NEDIHULL TEMP.b
SLP | W-13-PT___515_ | BR\NNHODE B15 | SLP | W-13-TT___617_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B17 | SLP | W-20-PT___812_ | TESTSEPARATOR | SLP | W-13-AT___004.Zero | Estimated background noise | SLP | W-13-XA___123_ | Brønn status | SLP | G-18-TT___541C | E-4H NEDIHULL TEMP.c
SLP | W-13-PT___516_ | WELLHEAD PRESSURE | SLP | W-13-TT___617_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B17 | SLP | W-20-PT___812_.dayavg06-06 | Day Avg 06 - 06 TESTSEPARATOR | SLP | W-13-AT___004B | Sand Production B - Well B04 | SLP | W-13-XA___123_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-TT___543_ | E-4H BRØNNHODE TEMP.
SLP | W-13-PT___516_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B16 | SLP | W-13-TT___618_ | BR\NNHODE B18 | SLP | W-20-PT___831A | Pressure measured A | SLP | W-13-AT___004_ | Sand Detection B-4 | SLP | W-13-XA___124_ | Brønn status | SLP | G-18-TT___543_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - E-4H BRØNNHODE TEMP.
SLP | W-13-PT___516_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B16 | SLP | W-13-TT___619_ | BR\NNHODE B19 | SLP | W-20-PT___831B | Pressure measured B | SLP | W-13-AT___004_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-4 | SLP | W-13-XA___124_.calc | Removes BAD from Tag Value (temporary solution) | SLP | G-18-TT___544_ | E-4H OPPSTR.CH.TEMP.
SLP | W-13-PT___517_ | BR\NNHODE B17 | SLP | W-13-TT___620_ | BR\NNHODE B20 | SLP | W-20-PT___861_ | TESTSEP. UTLOP | SLP | W-13-AT___004_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-4 | SLP | W-13-XA___124_.calc.hrsonstream | PWEL_30MIN_STATUS - ON_STREAM_HRS | SLP | G-18-TT___545_ | E-4H NEDSTR.CH.TEMP
SLP | W-13-PT___517_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B17 | SLP | W-13-TT___620_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B20 | SLP | W-20-PT___881_ | GASS TIL FORSTVNING | SLP | W-13-AT___004_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-4 | SLP | W-13-XA___301_ | CHOKE01 BR\NNTR AVIK
SLP | W-13-PT___517_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B17 | SLP | W-13-TT___620_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B20 |  |  |  | SLP | W-13-AT___005 | Sand Production A - Well B05 | SLP | W-13-XA___310_ | CHOKE10 BR\NNTR AVIK
SLP | W-13-PT___518_ | BR\NNHODE B18 | SLP | W-13-TT___621_ | BR\NNHODE B21 |  |  |  | SLP | W-13-AT___005.Rawdata | Sand Production A Well B05 - Raw data | SLP | W-13-XA___311_ | CHOKE11 BR\NNTR AVIK | SLP | G-18-XI___512_ | E-1H BRØNN STATUS
SLP | W-13-PT___519_ | BR\NNHODE B19 | SLP | W-13-TT___621_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B21 |  |  |  | SLP | W-13-AT___005.Step | Sand noise 1g/s | SLP | W-13-XA___313_ | CHOKE13 BR\NNTR AVIK | SLP | G-18-XI___512_calc.hrsonstream | E-1H_30MIN_STATUS - ON_STREAM_HRS
SLP | W-13-PT___520_ | Brønnhode B20 | SLP | W-13-TT___621_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B21 |  |  |  | SLP | W-13-AT___005.Vel | Velocity | SLP | W-13-XA___314_ | CHOKE14 BR\NNTR AVIK | SLP | G-18-XI___512__nytest | E-1H BRØNN STATUS
SLP | W-13-PT___520_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B20 | SLP | W-13-TT___622_ | BR\NNHODE B22 |  |  |  | SLP | W-13-AT___005.Zero | Estimated background noise | SLP | W-13-XA___316_ | CHOKE16 BR\NNTR AVIK | SLP | G-18-XI___512__nytest5 | E-1H BRØNN STATUS
SLP | W-13-PT___520_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B20 | SLP | W-13-TT___622_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B22 |  |  |  | SLP | W-13-AT___005B | Sand Production B - Well B05 | SLP | W-13-XA___317_ | CHOKE17 BR\NNTR AVIK | SLP | G-18-XI___520A | E-2H SEM A UREG.SPEN
SLP | W-13-PT___521_ | BR\NNHODE B21 | SLP | W-13-TT___622_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B22 |  |  |  | SLP | W-13-AT___005B.Rawdata | Sand Production B Well B05 - Raw data | SLP | W-13-XA___321_ | CHOKE21 BR\NNTR AVIK | SLP | G-18-XI___520B | E-2H SEM B UREG.SPEN
SLP | W-13-PT___521_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B21 | SLP | W-13-TT___623_ | BR\NNHODE B23 |  |  |  | SLP | W-13-AT___005B.Step | Sand noise 1g/s |  |  |  | SLP | G-18-XI___521_ | E-2H SEM ALARM STAT.
SLP | W-13-PT___521_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B21 | SLP | W-13-TT___623_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B23 |  |  |  | SLP | W-13-AT___005B.Vel | Velocity |  |  |  | SLP | G-18-XI___522_ | E-2H BRØNN STATUS
SLP | W-13-PT___522_ | BR\NNHODE B22 | SLP | W-13-TT___623_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B23 |  |  |  | SLP | W-13-AT___005B.Zero | Estimated background noise |  |  |  | SLP | G-18-XI___522_calc.hrsonstream | E-2H_30MIN_STATUS - ON_STREAM_HRS
SLP | W-13-PT___522_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B22 | SLP | W-13-TT___624_ | BR\NNHODE B24 |  |  |  | SLP | W-13-AT___005_ | Sand Detection B-5 |  |  |  | SLP | G-18-XI___532_ | E-3H BRØNN STATUS
SLP | W-13-PT___522_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B22 | SLP | W-13-TT___624_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_TEMP - BRØNNHODE B24 |  |  |  | SLP | W-13-AT___005_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-5 |  |  |  | SLP | G-18-XI___532_calc.hrsonstream | E-3H_30MIN_STATUS - ON_STREAM_HRS
SLP | W-13-PT___523_ | BR\NNHODE B23 | SLP | W-13-TT___624_.calc.5minavg | PWEL_SAMPLE - AVG_WH_TEMP - BRØNNHODE B24 |  |  |  | SLP | W-13-AT___005_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-5 |  |  |  | SLP | G-18-XI___542_ | E-4H BRØNN STATUS
SLP | W-13-PT___523_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B23 | [6 empty] | SLP | W-13-AT___005_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-5 |  |  |  | SLP | G-18-XI___542_calc.hrsonstream | E-4H_30MIN_STATUS - ON_STREAM_HRS
SLP | W-13-PT___523_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B23 | [6 empty] | SLP | W-13-AT___006 | Sand Production A - Well B06 |  |  |  | SLP | G-18-XI___562A | E-1H QDV STATUS A
SLP | W-13-PT___524_ | BR\NNHODE B24 | [6 empty] | SLP | W-13-AT___006.Rawdata | Sand Production A Well B06 - Raw data |  |  |  | SLP | G-18-XI___562B | E-1H QDV STATUS B
SLP | W-13-PT___524_.calc.30minavg | PWEL_30MIN_STATUS - AVG_WH_PRESS - BRØNNHODE B24 | [6 empty] | SLP | W-13-AT___006.Step | Sand noise 1g/s |  |  |  | SLP | G-18-XI___572A | E-2H QDV STATUS A
SLP | W-13-PT___524_.calc.5minavg | PWEL_SAMPLE - AVG_WH_PRESS - BRØNNHODE B24 | [6 empty] | SLP | W-13-AT___006.Vel | Velocity |  |  |  | SLP | G-18-XI___572B | E-2H QDV STATUS B
SLP | W-13-PT___605_ | B-annulus B05 | [6 empty] | SLP | W-13-AT___006.Zero | Estimated background noise |  |  |  | SLP | G-18-XI___582A | E-3H QDV STATUS A
SLP | W-13-PT___705_ | ringrom 3 brønn b5 | [6 empty] | SLP | W-13-AT___006B | Sand Production B - Well B06 |  |  |  | SLP | G-18-XI___582B | E-3H QDV STATUS B
[9 empty] | SLP | W-13-AT___006B.Rawdata | Sand Production B Well B06 - Raw data |  |  |  | SLP | G-18-XI___592A | E-4H QDV STATUS A
[9 empty] | SLP | W-13-AT___006B.Step | Sand noise 1g/s |  |  |  | SLP | G-18-XI___592B | E-4H QDV STATUS B
[9 empty] | SLP | W-13-AT___006B.Vel | Velocity |  |  |  | SLP | G-18-XI___702_ | SEM INT 5V
[9 empty] | SLP | W-13-AT___006B.Zero | Estimated background noise |  |  |  | SLP | G-18-XI___728A | E-1H PROD.APEN
[9 empty] | SLP | W-13-AT___006_ | Sand Detection B-6 |  |  |  | SLP | G-18-XI___728_ | E-1H PROD STENGT
[9 empty] | SLP | W-13-AT___006_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-6 |  |  |  | SLP | G-18-XI___742A | E-2H PROD.APEN
[9 empty] | SLP | W-13-AT___006_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-6 |  |  |  | SLP | G-18-XI___742_ | E-2H PROD STENGT
[9 empty] | SLP | W-13-AT___006_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-6 |  |  |  | SLP | G-18-XI___812_ | G-1H PWV Åpn Forrigl
[9 empty] | SLP | W-13-AT___007 | Sand Production A - Well B07 |  |  |  | SLP | G-18-XI___828_ | PAS
[9 empty] | SLP | W-13-AT___007.Rawdata | Sand Production A Well B07 - Raw data |  |  |  | SLP | G-18-XI___842_ | G-4H PWV Åpn Forrigl
[9 empty] | SLP | W-13-AT___007.Step | Sand noise 1g/s |  |  |  | SLP | G-18-XI___862A | G-1H SEM CANIntFeil
[9 empty] | SLP | W-13-AT___007.Vel | Velocity |  |  |  | SLP | G-18-XI___862B | G-1H SEM CANEksFeil
[9 empty] | SLP | W-13-AT___007.Zero | Estimated background noise |  |  |  | SLP | G-18-XI___862C | G-1H SEM Sol.Brudd
[9 empty] | SLP | W-13-AT___007B | Sand Production B - Well B07 |  |  |  | SLP | G-18-XI___862D | G-1H SEM AnalogFeil
[9 empty] | SLP | W-13-AT___007B.Rawdata | Sand Production B Well B07 - Raw data |  |  |  | SLP | G-18-XI___862E | G-1H SCU VannDetekt
[9 empty] | SLP | W-13-AT___007B.Step | Sand noise 1g/s |  |  |  | SLP | G-18-XI___862F | G-1H SEMA TAH
[9 empty] | SLP | W-13-AT___007B.Vel | Velocity |  |  |  | SLP | G-18-XI___862G | G-1H SEMB TAH
[9 empty] | SLP | W-13-AT___007B.Zero | Estimated background noise |  |  |  | SLP | G-18-XI___862H | G-1H SEMA PAH
[9 empty] | SLP | W-13-AT___007_ | Sand Detection B-7 |  |  |  | SLP | G-18-XI___862J | G-1H SEMB PAH
[9 empty] | SLP | W-13-AT___007_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-7 |  |  |  | SLP | G-18-XI___862K | G-1H SEMA TilfFeil
[9 empty] | SLP | W-13-AT___007_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-7 |  |  |  | SLP | G-18-XI___862L | G-1H SEMB TilfFeil
[9 empty] | SLP | W-13-AT___007_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-7 |  |  |  | SLP | G-18-XI___862M | G-1H SEMAIntKomFeil
[9 empty] | SLP | W-13-AT___008A | Sand Production A - Well B08 |  |  |  | SLP | G-18-XI___862N | G-1H SEMBIntKomFeil
[9 empty] | SLP | W-13-AT___008A.Rawdata | Sand Production A Well B08 - Raw data |  |  |  | SLP | G-18-XI___892A | G-4H SEM CANIntFeil
[9 empty] | SLP | W-13-AT___008A.Step | Sand noise 1g/s |  |  |  | SLP | G-18-XI___892B | G-4H SEM CANEksFeil
[9 empty] | SLP | W-13-AT___008A.Vel | Velocity |  |  |  | SLP | G-18-XI___892C | G-4H SEM Sol.Brudd
[9 empty] | SLP | W-13-AT___008A.Zero | Estimated background noise |  |  |  | SLP | G-18-XI___892D | G-4H SEM AnalogFeil
[9 empty] | SLP | W-13-AT___008B | Sand Production B - Well B08 |  |  |  | SLP | G-18-XI___892E | G-4H SCU VannDetekt
[9 empty] | SLP | W-13-AT___008B.Rawdata | Sand Production B Well B08 - Raw data |  |  |  | SLP | G-18-XI___892F | G-4H SEMA TAH
[9 empty] | SLP | W-13-AT___008B.Step | Sand noise 1g/s |  |  |  | SLP | G-18-XI___892G | G-4H SEMB TAH
[9 empty] | SLP | W-13-AT___008B.Vel | Velocity |  |  |  | SLP | G-18-XI___892H | G-4H SEMA PAH
[9 empty] | SLP | W-13-AT___008B.Zero | Estimated background noise |  |  |  | SLP | G-18-XI___892J | G-4H SEMB PAH
[9 empty] | SLP | W-13-AT___008_ | Sand Detection B-8 |  |  |  | SLP | G-18-XI___892K | G-4H SEMA TilfFeil
[9 empty] | SLP | W-13-AT___008_.calc.30minavg | 30 MIN STATUS - AVG Sand Detection B-8 |  |  |  | SLP | G-18-XI___892L | G-4H SEMB TilfFeil
[9 empty] | SLP | W-13-AT___009_ | Sand Detection B-9 |  |  |  | SLP | G-18-XI___892M | G-4H SEMAIntKomFeil
[9 empty] | SLP | W-13-AT___009_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-9 |  |  |  | SLP | G-18-XI___892N | G-4H SEMBIntKomFeil
[9 empty] | SLP | W-13-AT___009_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-9
[9 empty] | SLP | W-13-AT___010.Rawdata | Sand Production A Well B10 - Raw data
[9 empty] | SLP | W-13-AT___010.Step | Sand noise 1g/s |  |  |  |  | G-18-FZ___632A | water phr
[9 empty] | SLP | W-13-AT___010.Vel | Velocity |  |  |  |  | G-18-FZ___635B | gas phr
[9 empty] | SLP | W-13-AT___010.Zero | Estimated background noise |  |  |  |  | G-18-FZ___635C | cond phr
[9 empty] | SLP | W-13-AT___010B | Sand Production B - Well B10
[9 empty] | SLP | W-13-AT___010B.Rawdata | Sand Production B Well B10 - Raw data |  |  |  | SLP | G-18-AE___511A | E-1H SAND RAW VERDI
[9 empty] | SLP | W-13-AT___010B.Step | Sand noise 1g/s |  |  |  | SLP | G-18-AE___511B | E-1H Sand Zero Verdi
[9 empty] | SLP | W-13-AT___010B.Vel | Velocity |  |  |  | SLP | G-18-AE___511C | Sand ASR grense E-1
[9 empty] | SLP | W-13-AT___010B.Zero | Estimated background noise |  |  |  | SLP | G-18-AE___511_ | E-1H SAND DETEKSJON
[9 empty] | SLP | W-13-AT___010_ | Sand Detection B-10 |  |  |  | SLP | G-18-AE___511_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - E-1H SAND DETEKSJON
[9 empty] | SLP | W-13-AT___010_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-10 |  |  |  | SLP | G-18-AE___521A | E-2H SAND RAW VERDI
[9 empty] | SLP | W-13-AT___010_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-10 |  |  |  | SLP | G-18-AE___521B | E-2H Sand Zero Verdi
[9 empty] | SLP | W-13-AT___010_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-10 |  |  |  | SLP | G-18-AE___521C | Sand ASR grense E-2
[9 empty] | SLP | W-13-AT___011.Rawdata | Sand Production A Well B11 - Raw data |  |  |  | SLP | G-18-AE___521_ | E-2H SAND DETEKSJON
[9 empty] | SLP | W-13-AT___011.Step | Sand noise 1g/s |  |  |  | SLP | G-18-AE___521_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - E-2H SAND DETEKSJON
[9 empty] | SLP | W-13-AT___011.Vel | Velocity |  |  |  | SLP | G-18-AE___531A | E-3H SAND RAW VERDI
[9 empty] | SLP | W-13-AT___011.Zero | Estimated background noise |  |  |  | SLP | G-18-AE___531B | E-3H Sand Zero Verdi
[9 empty] | SLP | W-13-AT___011B | Sand Production B - Well B11 |  |  |  | SLP | G-18-AE___531C | Sand ASR grense E-3
[9 empty] | SLP | W-13-AT___011B.Rawdata | Sand Production B Well B11 - Raw data |  |  |  | SLP | G-18-AE___531_ | E-3H SAND DETEKSJON
[9 empty] | SLP | W-13-AT___011B.Step | Sand noise 1g/s |  |  |  | SLP | G-18-AE___531_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - E-3H SAND DETEKSJON
[9 empty] | SLP | W-13-AT___011B.Vel | Velocity |  |  |  | SLP | G-18-AE___541A | E-4H SAND RAW VERDI
[9 empty] | SLP | W-13-AT___011B.Zero | Estimated background noise |  |  |  | SLP | G-18-AE___541B | E-4H Sand Zero Verdi
[9 empty] | SLP | W-13-AT___011_ | Sand Detection B-11 |  |  |  | SLP | G-18-AE___541C | Sand ASR grense E-4
[9 empty] | SLP | W-13-AT___011_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-11 |  |  |  | SLP | G-18-AE___541_ | E-4H SAND DETEKSJON
[9 empty] | SLP | W-13-AT___011_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-11 |  |  |  | SLP | G-18-AE___541_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - E-4H SAND DETEKSJON
[9 empty] | SLP | W-13-AT___011_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-11
[9 empty] | SLP | W-13-AT___012_ | Sand Detection B-12
[9 empty] | SLP | W-13-AT___013 | Sand Production A - Well B13
[9 empty] | SLP | W-13-AT___013.Rawdata | Sand Production A Well B13 - Raw data
[9 empty] | SLP | W-13-AT___013.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___013.Vel | Velocity
[9 empty] | SLP | W-13-AT___013.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___013B | Sand Production B - Well B13
[9 empty] | SLP | W-13-AT___013B.Rawdata | Sand Production B Well B13 - Raw data
[9 empty] | SLP | W-13-AT___013B.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___013B.Vel | Velocity
[9 empty] | SLP | W-13-AT___013B.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___013_ | Sand Detection B-13 (TO BE REMOVED. USE 013 or 013B)
[9 empty] | SLP | W-13-AT___013_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-13
[9 empty] | SLP | W-13-AT___013_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-13
[9 empty] | SLP | W-13-AT___013_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-13
[9 empty] | SLP | W-13-AT___014 | Sand Production A - Well B14
[9 empty] | SLP | W-13-AT___014.Rawdata | Sand Production A Well B14 - Raw data
[9 empty] | SLP | W-13-AT___014.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___014.Vel | Velocity
[9 empty] | SLP | W-13-AT___014.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___014B | Sand Production B - Well B14
[9 empty] | SLP | W-13-AT___014B.Rawdata | Sand Production B Well B14 - Raw data
[9 empty] | SLP | W-13-AT___014B.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___014B.Vel | Velocity
[9 empty] | SLP | W-13-AT___014B.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___014_ | Sand Detection B-14
[9 empty] | SLP | W-13-AT___014_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-14
[9 empty] | SLP | W-13-AT___014_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-14
[9 empty] | SLP | W-13-AT___014_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-14
[9 empty] | SLP | W-13-AT___015_ | Sand Detection B-15
[9 empty] | SLP | W-13-AT___016.Rawdata | Sand Production A Well B16 - Raw data
[9 empty] | SLP | W-13-AT___016.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___016.Vel | Velocity
[9 empty] | SLP | W-13-AT___016.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___016_ | Sand Detection B-16
[9 empty] | SLP | W-13-AT___016_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-16
[9 empty] | SLP | W-13-AT___016_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-16
[9 empty] | SLP | W-13-AT___017.Rawdata | Sand Production A Well B17 - Raw data
[9 empty] | SLP | W-13-AT___017.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___017.Vel | Velocity
[9 empty] | SLP | W-13-AT___017.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___017B | Sand Production B - Well B17
[9 empty] | SLP | W-13-AT___017B.Rawdata | Sand Production B Well B17 - Raw data
[9 empty] | SLP | W-13-AT___017B.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___017B.Vel | Velocity
[9 empty] | SLP | W-13-AT___017B.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___017_ | Sand Detection B-17
[9 empty] | SLP | W-13-AT___017_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-17
[9 empty] | SLP | W-13-AT___017_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-17
[9 empty] | SLP | W-13-AT___017_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-17
[9 empty] | SLP | W-13-AT___018_ | Sand Detection B-18
[9 empty] | SLP | W-13-AT___019_ | Sand Detection B-19
[9 empty] | SLP | W-13-AT___020.Rawdata | Sand Production A Well B20 - Raw data
[9 empty] | SLP | W-13-AT___020.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___020.Vel | Velocity
[9 empty] | SLP | W-13-AT___020.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___020B | Sand Production B - Well B20
[9 empty] | SLP | W-13-AT___020B.Rawdata | Sand Production B Well B20 - Raw data
[9 empty] | SLP | W-13-AT___020B.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___020B.Vel | Velocity
[9 empty] | SLP | W-13-AT___020B.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___020_ | Sand Detection B-20
[9 empty] | SLP | W-13-AT___020_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-20
[9 empty] | SLP | W-13-AT___020_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-20
[9 empty] | SLP | W-13-AT___020_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-20
[9 empty] | SLP | W-13-AT___021.Rawdata | Sand Production A Well B21 - Raw data
[9 empty] | SLP | W-13-AT___021.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___021.Vel | Velocity
[9 empty] | SLP | W-13-AT___021.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___021B | Sand Production B - Well B21
[9 empty] | SLP | W-13-AT___021B.Rawdata | Sand Production B Well B21 - Raw data
[9 empty] | SLP | W-13-AT___021B.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___021B.Vel | Velocity
[9 empty] | SLP | W-13-AT___021B.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___021_ | Sand Detection B-21
[9 empty] | SLP | W-13-AT___021_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-21
[9 empty] | SLP | W-13-AT___021_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-21
[9 empty] | SLP | W-13-AT___021_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-21
[9 empty] | SLP | W-13-AT___022.Rawdata | Sand Production A Well B22 - Raw data
[9 empty] | SLP | W-13-AT___022.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___022.Vel | Velocity
[9 empty] | SLP | W-13-AT___022.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___022B | Sand Production B - Well B22
[9 empty] | SLP | W-13-AT___022B.Rawdata | Sand Production B Well B22 - Raw data
[9 empty] | SLP | W-13-AT___022B.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___022B.Vel | Velocity
[9 empty] | SLP | W-13-AT___022B.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___022_ | Sand Detection B-22
[9 empty] | SLP | W-13-AT___022_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-22
[9 empty] | SLP | W-13-AT___022_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-22
[9 empty] | SLP | W-13-AT___022_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-22
[9 empty] | SLP | W-13-AT___023_ | Sand Detection B-23
[9 empty] | SLP | W-13-AT___023_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-23
[9 empty] | SLP | W-13-AT___023_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-23
[9 empty] | SLP | W-13-AT___024.Rawdata | Sand Production A Well B24 - Raw data
[9 empty] | SLP | W-13-AT___024.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___024.Vel | Velocity
[9 empty] | SLP | W-13-AT___024.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___024B | Sand Production B - Well B24
[9 empty] | SLP | W-13-AT___024B.Rawdata | Sand Production B Well B24 - Raw data
[9 empty] | SLP | W-13-AT___024B.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___024B.Vel | Velocity
[9 empty] | SLP | W-13-AT___024B.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___024_ | Sand Detection B-24
[9 empty] | SLP | W-13-AT___024_.calc.30minavg | PWEL_30MIN_STATUS - AVG_SAND_WT - SANDRATE B-24
[9 empty] | SLP | W-13-AT___024_.calc.5minavg | PWEL_SAMPLE - AVG_SSD_SIGN - SANDRATE B-24
[9 empty] | SLP | W-13-AT___024_.dayavg06-06 | Day Avg 06 - 06 SANDRATE B-24
[9 empty] | SLP | W-13-AT___801.Rawdata | Sand Production A Well TEST SEP. - Raw data
[9 empty] | SLP | W-13-AT___801.Step | Sand noise 1g/s
[9 empty] | SLP | W-13-AT___801.Vel | Velocity
[9 empty] | SLP | W-13-AT___801.Zero | Estimated background noise
[9 empty] | SLP | W-13-AT___801_ | Sand Production A - TEST SEP.

## Sheet2
WELL | PRESSURES |  |  |  | ALFA NORD
B-1 | W-13-PT___501_ | BRØNNHODE B01 |  |  | G-18-PT___513_ | E-1H BRØNNHODE TRYKK | Loke |  | Utgard 15/8-G-4H
B-2 | W-13-PT___502_ | BRONNHODE B02 |  |  | G-18-PT___523_ | E-2H BRØNNHODE TRYKK | 18-TT___831_ | riser temperature | G-18-PT___943_ | wellhead pressures
B-3 | W-13-PT___503_ | Brønnhode B03 |  |  | G-18-PT___533_ | E-3H BRØNNHODE TRYKK | 18-PT___832_ | riser pressure | G-18-TT___943_ | wellhead temperatures
B-4 | W-13-PT___504_ | BR\NNHODE B04 |  |  | G-18-PT___543_ | E-4H BRØNNHODE TRYKK | 18-AT___836.Rawdata | raw sand signal | G-18-PT___945_ | downstream pressure
B-5 | W-13-PT___505_ | BR\NNHODE B05 |  |  |  |  | 18-PT___157_ | wellhead pressure | G-18-TT___945_ | downstream temperatures
B-6 | W-13-PT___506_ | BR\NNHODE B06 |  |  |  |  | 18-TT___151_ | wellhead temperature | G-18-AEU__948_ | raw sand signals
B-7 | W-13-PT___507_ | BR\NNHODE B07 |  |  | G-18-TT___513_ | E-1H BRØNNHODE TEMP. | 18-XA___821_ | well status | NO 15/8-G-4H.calc.OnStream | well status
B-10 | W-13-PT___510_ | BR\NNHODE B10 |  |  | G-18-TT___523_ | E-2H BRØNNHODE TEMP. |  |  | G-48-FI-944GC | Gas rates G-4H
B-11 | W-13-PT___511_ | BR\NNHODE B11 |  |  | G-18-TT___533_ | E-2H BRØNNHODE TEMP. |  |  | G-48-FI-944CC | Condensate rates G-4H
B-14 | W-13-PT___514_ | BR\NNHODE B14 |  |  | G-18-TT___543_ | E-4H BRØNNHODE TEMP. | Gungne |  | G-18-FI-944WC | Water rates G-4H
B-16 | W-13-PT___516_ | BR\NNHODE B16 |  |  |  |  | 13-PT___054_ | wellhead pressure
B-17 | W-13-PT___517_ | BR\NNHODE B17 |  |  |  |  | 13-AT___274.Rawdata | raw sand signal, sensor A | Utgard 15/8-G-1H
B-20 | W-13-PT___520_ | Brønnhode B20 |  |  | G-18-PT___515_ | E-1H NEDSTR.CH.TRYKK | 13-AT___274B.Rawdata | raw sand signal, sensor B | G-18-PT___913_ | wellhead pressures
B-21 | W-13-PT___521_ | BR\NNHODE B21 |  |  | G-18-PT___525_ | E-2H NEDSTR.CH.TRYKK | 13-PT___234_ | downstream pressure | G-18-TT___913_ | wellhead temperatures
B-22 | W-13-PT___522_ | BR\NNHODE B22 |  |  | G-18-PT___535_ | E-3H NEDSTR.CH.TRYKK | 13-TT___214_ | downstream temperature | G-18-PT___915_ | downstream pressure
B-24 | W-13-PT___524_ | BR\NNHODE B24 |  |  | G-18-PT___545_ | E-4H NEDSTR.CH.TRYKK | 13-XA___034_ | well status | G-18-TT___915_ | downstream temperatures
[9 empty] | G-18-AEU__918_ | raw sand signals
[9 empty] | NO 15/8-G-1H.calc.OnStream | well status
[5 empty] | G-18-TT___515_ | E-1H NEDSTR.CH.TEMP |  |  | G-18-FI-914GC | Gas rates G-1H
[5 empty] | G-18-TT___525_ | E-2H NEDSTR.CH.TEMP | Sigyn-3 |  | G-18-FI-914CC | Condensate rates G-1H
[5 empty] | G-18-TT___535_ | E-3H NEDSTR.CH.TEMP | \\SLP\U-18-PT___533_ | wellhead pressures | G-18-FI-914WC | Water rates G-1H
[5 empty] | G-18-TT___545_ | E-4H NEDSTR.CH.TEMP | \\SLP\U-18-TT___533_ | wellhead temperatures
[7 empty] | \\SLP\U-18-PT___535_ | downstream pressure
[5 empty] | G-18-AE___511A | E-1H SAND RAW VERDI | \\SLP\U-18-TT___535_ | downstream temperatures
| TEMPERATURES |  |  |  | G-18-AE___521A | E-2H SAND RAW VERDI | \\SLP\U-18-AE___531A | raw sand signals
B-1 | W-13-TT___601_ | BRØNNHODE B01 | B-1 |  | G-18-AE___531A | E-3H SAND RAW VERDI | \\SLP\U-18-ZT___533_calc.hrsonstream | well status
B-2 | W-13-TT___602_ | BRONNHODE B02 | B-2 |  | G-18-AE___541A | E-4H SAND RAW VERDI
B-3 | W-13-TT___603_ | BR\NNHODE B03 | B-3
B-4 | W-13-TT___604_ | BR\NNHODE B04 | B-4
B-5 | W-13-TT___605_ | BR\NNHODE B05 | B-5 |  | G-18-XI___512_ | E-1H BRØNN STATUS | Sigyn-2
B-6 | W-13-TT___606_ | BR\NNHODE B06 | B-6 |  | G-18-XI___522_ | E-2H BRØNN STATUS | \\SLP\U-18-PT___523_ | wellhead pressures
B-7 | W-13-TT___607_ | BR\NNHODE B07 | B-7 |  | G-18-XI___532_ | E-3H BRØNN STATUS | \\SLP\U-18-TT___523_ | wellhead temperatures
B-10 | W-13-TT___610_ | BR\NNHODE B10 | B-10 |  | G-18-XI___542_ | E-4H BRØNN STATUS | \\SLP\U-18-PT___525_ | downstream pressure
B-11 | W-13-TT___611_ | BR\NNHODE B11 | B-11 |  |  |  | \\SLP\U-18-AE___521A | downstream temperatures
B-14 | W-13-TT___614_ | BR\NNHODE B14 | B-14 |  |  |  | \\SLP\U-18-TT___525_ | raw sand signals
B-16 | W-13-TT___616_ | BR\NNHODE B16 | B-16 |  |  |  | \\SLP\U-18-ZT___523_calc.hrsonstream | well status
B-17 | W-13-TT___617_ | BR\NNHODE B17 | B-17 |  | G-18-FZ___612A | Water rates E-1H
B-20 | W-13-TT___620_ | BR\NNHODE B20 | B-20 |  | G-18-FZ___615B | Gas rates E-1H
B-21 | W-13-TT___621_ | BR\NNHODE B21 | B-21 |  | G-18-FZ___615C | Condensate rates E-1H
B-22 | W-13-TT___622_ | BR\NNHODE B22 | B-22 |  | G-18-FZ___622A | Water rates E-2H
B-24 | W-13-TT___624_ | BR\NNHODE B24 | B-24 |  | G-18-FZ___625B | Gas rates E-2H
[5 empty] | G-18-FZ___625C | Condensate rates E-2H
[5 empty] | G-18-FZ___632A | Water rates E-3H
[5 empty] | G-18-FZ___635B | Gas rates E-3H
[5 empty] | G-18-FZ___635C | Condensate rates E-3H
[5 empty] | G-18-FZ___642A | Water rates E-4H
[5 empty] | G-18-FZ___645B | Gas rates E-4H
[5 empty] | G-18-FZ___645C | Condensate rates E-4H
DSC PRESSURES
B-1 | W-20-PT___101_ | B01 PROD. LINJE | B-1
B-2 | W-20-PT___102_ | B02 PROD. LINJE | B-2
B-3 | W-20-PT___103_ | B03 PROD. LINJE | B-3
B-4 | W-20-PT___104_ | B04 PROD. LINJE | B-4
B-5 | W-20-PT___105_ | B05 PROD. LINJE | B-5
B-6 | W-20-PT___106_ | B06 PROD. LINJE | B-6
B-7 | W-20-PT___107_ | B07 PROD. LINJE | B-7
B-10 | W-20-PT___110_ | B10 PROD. LINJE | B-10
B-11 | W-20-PT___111_ | B11 PROD. LINJE | B-11
B-14 | W-20-PT___114_ | B14 PROD. LINJE | B-14
B-16 | W-20-PT___116_ | B15 PROD. LINJE | B-16
B-17 | W-20-PT___117_ | B17 PROD. LINJE | B-17
B-20 | W-20-PT___120_ | B20 PROD. LINJE | B-20
B-21 | W-20-PT___121_ | B21 PROD. LINJE | B-21
B-22 | W-20-PT___122_ | B22 PROD. LINJE | B-22
B-24 | W-20-PT___124_ | B24 PROD. LINJE | B-24
SAND RAW
B-1 | W-13-AT___001A.Rawdata | Sand Production A Well B01 - Raw data |  | B-1
B-2 | W-13-AT___002A.Rawdata | Sand Production A Well B02 - Raw data |  | B-2
B-3 | W-13-AT___003.Rawdata | Sand Production A Well B03 - Raw data |  | B-3
B-4 | W-13-AT___004.Rawdata | Sand Production A Well B04 - Raw data |  | B-4
B-5 | W-13-AT___005.Rawdata | Sand Production A Well B05 - Raw data |  | B-5
B-6 | W-13-AT___006.Rawdata | Sand Production A Well B06 - Raw data |  | B-6
B-7 | W-13-AT___007.Rawdata | Sand Production A Well B07 - Raw data |  | B-7
B-10 | W-13-AT___010.Rawdata | Sand Production A Well B10 - Raw data |  | B-10
B-11 | W-13-AT___011.Rawdata | Sand Production A Well B11 - Raw data |  | B-11
B-14 | W-13-AT___014.Rawdata | Sand Production A Well B14 - Raw data |  | B-14
B-16 | W-13-AT___016.Rawdata | Sand Production A Well B16 - Raw data |  | B-16
B-17 | W-13-AT___017.Rawdata | Sand Production A Well B17 - Raw data |  | B-17
B-20 | W-13-AT___020.Rawdata | Sand Production A Well B20 - Raw data |  | B-20
B-21 | W-13-AT___021.Rawdata | Sand Production A Well B21 - Raw data |  | B-21
B-22 | W-13-AT___022.Rawdata | Sand Production A Well B22 - Raw data |  | B-22
B-24 | W-13-AT___024.Rawdata | Sand Production A Well B24 - Raw data |  | B-24
WELL STATUS
B-1 | W-13-XA___101_ | Brønn status
B-2 | W-13-XA___102_ | Brønn status
B-3 | W-13-XA___103_ | Brønn status
B-4 | W-13-XA___104_ | Brønn status
B-5 | W-13-XA___105_ | Brønn status
B-6 | W-13-XA___106_ | Brønn status
B-7 | W-13-XA___107_ | Brønn status
B-10 | W-13-XA___110_ | Brønn status
B-11 | W-13-XA___111_ | Brønn status
B-14 | W-13-XA___114_ | Brønn status
B-16 | W-13-XA___116_ | Brønn status
B-17 | W-13-XA___117_ | Brønn status
B-20 | W-13-XA___120_ | Brønn status
B-21 | W-13-XA___121_ | Brønn status
B-22 | W-13-XA___122_ | Brønn status
B-24 | W-13-XA___124_ | Brønn status